Pre Approval Application for Solar PV Systems

### This form is to be used for solar installations where the total rating of all PV panels exceeds 4.5kVA.

### The information provided in this form is used to conduct a technical review to assess the impact of the installation on SP AusNet’s network.  Based on this review, SP AusNet will advise customers whether authorisation is given to connect the installation to the network.

SP AusNet accepts no responsibility for any costs if a customer installs a solar system that exceeds 4.5kVA prior to receiving authorisation from SP AusNet.

Customer and Site Details

| Customer Name |  |
| --- | --- |
| Installation Address |  |
| Mailing Address (if different to above) |  |
| Contact Phone Numbers | BH: | AH: |
| Email Address |  |
| NMI Number (if known) |  | Electricity Retailer |  |
| Permanent Supply Connected? | YES | NO | Number Of Phases | 1 | 2 | 3 |

Installer Details

| Installation Company Name |  |
| --- | --- |
| Installation Company Address |  |
| Contact Phone Number | BH: | AH: |
| Installer’s Name |  |

PV System Details

| Total Rating of all PV Panels |  |
| --- | --- |
| Inverter Manufacturer |  |
| Inverter Model Name |  |
| Inverter Model Number |  |
| Inverter Rating (kVA) |  |
| Is the Inverter an ‘Approved Inverter’? | YES | NO | Approval Number |  |

If not an Approved Inverter, please attach documentation demonstrating that the inverter has passed ‘Type Testing’ as required by the ‘Australian Guidelines for Grid Connection of Energy Systems via Inverters’, Appendix B.

A list of approved inverters is available at:  http://cleanenergycouncil.org.au/cec/accreditation/approvedproducts.html

Sketch of Proposed Installation

Please provide a sketch of the proposed installation in the form of a single line diagram.  Specifically show:

- The main switchboard.

- Any internal distribution sub-panels to which the inverter will be connected.

- The location of all fuses and switches between the grid and the inverter.

- Brief details of all the DC-side connections of the inverter.

Include other details if relevant.  Two sample Single Line Diagrams are available on SP AusNet’s website at: http://www.sp-ausnet.com.au.